## Surge test format
Surge Test Report
Report No.
Product Cat Ref - |  |  |  |  | Product Description | [6 empty] | Date
Driver Code |  |  | SPD Code |  |  |  |  | LED Configuration - |  |  |  |  | Batch Code
PKD
1.Reference Standard for Testing - IEC 61000 - 2.Acceptance Norm: As per TDS -
Surge Driver without SPD
Time between each surge - 60Sec | [5 empty] | No of Cycles - 05 | [7 empty] | Observation
Voltage (KV) | Mode | Line - Neutral (L-N) DM |  |  |  | Line - Earth (L-E) CM |  |  |  | Neutral- Earth (N-E) CM
| Phase angle | ±90° | ±180° | ±270° | ±0° | ±90° | ±180° | ±270° | ±0° | ±90° | ±180° | ±270° | ±0°
Result - Pass / Fail Driver - OK/ Not OK LED PCB - OK/ Not OK
Surge with SPD
Time between each surge - 60Sec | [5 empty] | No of Cycles - 05 | [7 empty] | Observation
Voltage (KV) | Mode | Line - Neutral (L-N) DM |  |  |  | Line - Earth (L-E) CM |  |  |  | Neutral- Earth (N-E)
| Phase angle | ±90° | ±180° | ±270° | ±0° | ±90° | ±180° | ±270° | ±0° | ±90° | ±180° | ±270° | ±0°
Result - Pass / Fail SPD - OK/ NOT Driver - OK/ Not OK LED PCB - OK/ Not OK
Space for Photo
Checked By: - | [7 empty] | Verified By: -